Enquiry No.066_Cable

| Sl. No | SAP Code | Description | UOM | Qty |
| --- | --- | --- | --- | --- |
| 10 | 270500010N | CABLE(E) 11KV, 3CORE, 300 SQ.MM. AL.CONDUCTOR, RND COMPACT STRANDED, XLPE, EXTRUDED SEMICONDTNG. COMPD. INSU., STEEL TAPE ARMOURED, SCREENED, PVC SHEATHED, DRY CURING AS PER IS:7098 (II)/1985 | Mtrs. | 500 |
| 11 | 270500026N | CABLE(E) 11KV, 3CORE,120 SQ.MM. AL.CONDUCTOR,RND COMPACT STRANDED, XLPE, EXTRUDED SEMICONDTNG. COMPD. INSU., STEEL TAPE ARMOURED, SCREENED, PVC SHEATHED, DRY CURING AS PER IS:7098 (II)/1985 | Mtrs. | 2000 |
| 12 | 270500025N | CABLE(E) 11KV, 3CORE,70 SQ.MM. AL.CONDUCTOR,RND COMPACT STRANDED, XLPE, EXTRUDED SEMICONDTNG. COMPD. INSU., STEEL TAPE ARMOURED, SCREENED, PVC SHEATHED, DRY CURING AS PER IS:7098 (II)/1985 | Mtrs. | 1800 |
| 13 | 272300012N | 11KV (E) GRADE AERIAL BUNCHED CABLE (ABC),(3X70 MM. +1X180 MM)WITH 3 (THREE) | Mtrs. | 3000 |
| 14 | 272300020N | LT AB CABLE(4C X 70+70+16)1.1KV | Mtrs. | 5000 |
| 15 | 271700051N | 1100 VOLT LT CABLE XLPE INSULATED ARMOURED 4 CORE X 120 SQMM | Mtrs. | 2700 |
| 17 | 270100101N | 1100 VOLTS 4 CORE XLPE CABLE,240 SQMM | Mtrs. | 2500 |
| 18 | 270100072N | 2 CORE 6 SQ.MM AL. ARMOURED PVC CABLE | Metre | 9000 |
| 19 | 271700049N | 1100 VOLT LT CABLE XLPE INSULATED ARMOURED 4 CORE X 70 SQMM | Metre | 3000 |

--