| SL.No | Item Code | Description | Qty | UOM |
| --- | --- | --- | --- | --- |
| 10 | 270900003N | ACSR 0.1 SQ. INCH CONDUCTOR (CODE NAME 'DOG') STRANDS, STEEL 7/0.062", ALUMINIUM 6/0.186", AS PER IS 398/1961 AMMENDED UP TO DATE | 10,000 | M |
|  | 270900002N | ACSR 0.2 SQ. INCH CONDUCTOR (CODE NAME 'PANTHER') STRANDS, STEEL 7/0.118", ALUMINIUM 30/0.118", AS PER IS 398/1961 AMMENDED UP TO DATE | 3000 | M |
|  | 270900008N | ACSR 0.15 SQ. INCH CONDUCTOR (CODE NAME 'WOLF') STRANDS, STEEL 7/0.102", ALUMINIUM 30/0.102", AS PER IS 398/1961 AMMENDED UP TO DATE | 7000 | M |