Enquiry No.069_Line Hard wire

| Sl. No | SAP Code | Description | UOM | Qty |
| --- | --- | --- | --- | --- |
| 1 | 260900028N | GOAB ISOLATOR, 11KV 200A, WITH DO FUSE, SINGLE BREAK, VERTICAL MOUNT, TRIPLE POLE, 4 POST INSULATORS PER POLE COMPLETE WITH GI CHANNEL, FUSE BARREL, CONNECTORS ETC. AS PER IS:9921 (PART IV) & IS:9385 | EACH | 15 |
| 2 | 260900014N | GOAB ISOLATOR, 11KV 400A, WITH DO FUSE, SINGLE BREAK, VERTICAL MOUNT, TRIPLE POLE, 4 POST INSULATORS PER POLE COMPLETE WITH GI CHANNEL, FUSE BARREL, CONNECTORS ETC. AS PER IS:9921 (PART IV) & IS:9385 | EACH | 10 |
| 3 | 260900018N | 800 A LINK TYPE HEAVY DUTY ISOLATOR WITH 22KV POST INSULATOR VERTICAL MOUNT TRIPLE POLE HAVING SELF STAY ARRANGEMENT COMPLETE WITH GI CHANNEL SUITABLE FOR 11KV SYSTEM | SET | 10 |
| 4 | 260300046N | GI TURN BUCKLE 3/4" x 18" (18MMX450MM) COMPLETE WITH NUTS, WASHERS & CHECK NUTS | EACH | 80 |
| 5 | 272107101N | INSULATING PIERCING CONNECTORS FOR CONNECTION OF DISTRIBUTION BOXS INCLUDING CONNECTION WITH AB CABLE (STANDARD-NFC 33020) , CROSS-SECTION IN SQ.MM 25-90(MAIN AND TAP BOTH),TIGHTENING TORQUE-18NM | EACH | 1270 |
| 6 | 272107102N | INSULATING PIERCING CONNECTORS FOR ABC TO ABC TEE CONNECTION INCLUDING CONNECTION WITH AB CABLE.(STANDARD-NFC 33020) , CROSS-SECTION IN SQ.MM 25-90(MAIN AND TAP BOTH),TIGHTENING TORQUE-18NM | EACH | 520 |
| 7 | 260600174N | D.IRON CLAMP,(HOT DIP GALVANIZED AS PER IS:2633) | EACH | 1000 |