Enquiry No.068_Cablie Protection Tiles

| Sl. No | SAP Code | Description | UOM | QTY |
| --- | --- | --- | --- | --- |
| 1 | 271700055N | RCC CABLE PROTECTION COVER 11KV 2FEET (RED) SPECIFICATION:- REINFORCEMENT CAGE(10SWG)/ LENGTH 558MM AND WIDTH 180MM/ DROP TESTED FROM A HEIGH OF 4FEET/MIX STRENGTH RATIO(1:1:5:3) | EA | 5000 |
| 2 | 271700054N | RCC CABLE PROTECTION COVER L.T. 1FEET (RED) SPECIFICATION:-REINFORCEMENT CAGE(12SWG)/ LENGTH 345MM AND WIDTH 180MM/DROP TESTED FROM A HEIGH OF 4FEET/MIX STRENGTH RATIO(1:1:5:3). | EA | 25000 |